## Slide 1: Wireless sensor network
based on nRF51822
Michał Budzoń

## Slide 2: Assumptions
Creating the network consisted of many sensors ( remotely controlled devices )
Integration a few standards wihin the whole system (2.4GHz, 433MHz, BLE, etc.)
Simplicity to add new sensors
Rather rare measurements updating (from a few seconds to hours)
System supervision via TCPIP set of protocols
sensor network
Wireless

## Slide 3: Requirements
sensor network
Wireless
Essentials
Energy saving
Simplicity
Trade-offs
Low transfer rates (not a problem)
Reliability
Small responsiveness (not a problem)
Flexibility

## Slide 4: Architecture
sensor network
Wireless
Supervisor
Central data integrator
Other peripherial integrator
Some device
Peripherial integrator
Heater
Sensor
Relay

## Slide 5: Architecture
sensor network
Wireless
Supervisor
Central data integrator
Other peripherial integrator
Some device
Peripherial integrator
Heater
Sensor
Relay

## Slide 6: Architecture
sensor network
Wireless
Supervisor
Central data integrator
Other peripherial integrator
Some device
Heater
Sensor
Relay
PCA10000

## Slide 7: Architecture
sensor network
Wireless
Supervisor
Central data integrator
Other peripherial integrator
Some device
PCA10000
PCA10001
PCA10001
PCA10001

## Slide 8: Architecture
sensor network
Wireless
Supervisor
Central data integrator
Other peripherial integrator
Some device
PCA10000
PCA10001
PCA10001
PCA10001
BLE 4.0
BLE 4.0
BLE 4.0

## Slide 9: Architecture
sensor network
Wireless
Supervisor
Other peripherial integrator
Some device
PCA10000
PCA10001
PCA10001
PCA10001
BLE 4.0
BLE 4.0
BLE 4.0

## Slide 10: Architecture
sensor network
Wireless
Supervisor
Some device
PCA10000
PCA10001
PCA10001
PCA10001
BLE 4.0
BLE 4.0
BLE 4.0

## Slide 11: Architecture
sensor network
Wireless
Supervisor
Some device
PCA10000
PCA10001
PCA10001
PCA10001
BLE 4.0
BLE 4.0
BLE 4.0
MODBUS
MODBUS
MODBUS
or other

## Slide 12: Architecture
sensor network
Wireless
Some device
PCA10000
PCA10001
PCA10001
PCA10001
BLE 4.0
BLE 4.0
BLE 4.0
MODBUS
MODBUS
MODBUS
or other
TCPIP

## Slide 13: Architecture
sensor network
Wireless
PCA10000
PCA10001
PCA10001
PCA10001
BLE 4.0
BLE 4.0
BLE 4.0
MODBUS
MODBUS
MODBUS
or other
TCPIP

## Slide 14: Device type
Three examplary types are already implemented:
temperature sender
DATA INTEGRATOR WITH MODBUS
led driver
S120
S110
S110

## Slide 15: Device type
Temperature measurements and battery level are send in advertising packet, to be precise – in service data
Values are updated every fixed time due to app_timer’s timeout
Compatible with nRF Temp 2.0 Androis/iOS app
Non-connectable, only one-way communication is possible
Temperature sensor features:
temperature sensor

## Slide 16: Device type
Three examplary types are already implemented:
temperature sender
DATA INTEGRATOR WITH MODBUS
led driver

## Slide 17: Device type
Led driver features:
led driver
Sends led’s color and advertising interval in advertising packets, to be precise – in service data
Both above values can be manually modified
Two-way communication
Fast connect->write->disconnect sequence

## Slide 18: Device type
Writing to led driver time diagram:

## Slide 19: Device type
Writing to led driver from MODBUS point of view:
Screen comes from Salea Logic Analyzer:
TX
RX

## Slide 20: Device type
Three examplary types are already implemented:
temperature sender
DATA INTEGRATOR WITH MODBUS
led driver
S120
S110
S110

## Slide 21: Device type
Data integrator features:
DATA INTEGRATOR WITH MODBUS
Handles three basic MODBUS requests: read, write and get device information
Collects data from sensors by advertising packets and parsing service data field
Stores all compatible devices on the list
If requested, writes to characteristic by fast sequence connect->write->disconnect

## Slide 22: Data integrator
Adding a new device to the list:
Removing devices from the list:

## Slide 23: Data integrator
Receiveing the packet first time - diagram:

## Slide 24: Data integrator
MODBUS registers organization:
0x00
Sensors number
0x01-0x08
Sensor 0
Sensor type (R)
data byte1
data byte2.
.
data byte7
0x09 – 0x10
Sensor 1
Sensor type (R)
data byte1
data byte2.
.
data byte7
0x11 – 0x18
Sensor 2
Sensor type (R)
data byte1
data byte2.
.
data byte7
  sensor type (R)
  data byte 1
  data byte 2
  data byte 3
  data byte 4
  data byte 5
  data byte 6
  data byte 7
0xy – 0xz
Sensor X
  Sensor type (R)
  data byte1
  data byte2.
  .
  data byte7

## Slide 25: Data integrator
MODBUS response for read request:
Examplary data integrator’s response for request to return 18B from memory registers starting at 0x00.

## Slide 26: Data integrator
Write request handling:
a
1. WRITE RQ
2.CONNECT->WRITE->DISCONNECT
MODBUS registers
Data
integrator
led
driver
4. Update advertising packet and send it.
5. Memory is updated, changed
value is visible
throug MODBUS read rq
3. Change color